Assigned Personnel:                                                  		Date:

Floor/Office:_______________________________________

Month 2025

Preventive Maintenance Checklist of Air-conditioned Units

| Conducted Activities | Remarks |
| --- | --- |
| 1. Visual Inspection Inspect the physical condition of the unit (no damage or corrosion). Check for any unusual noise or vibration. Inspect electrical connections and terminals |  |
| 2. Air Filters Check air filter condition. Clean or replace air filter if dirty. |  |
| 3. Evaporator and Condenser Coils Inspect evaporator coils for dirt and debris Clean coils if necessary Check for any refrigerant leaks |  |
| 4. Blower and Fan Check blower/fan for dust build-up Clean blower/fan assembly |  |
| 5. Controls Inspect control panel and test safety controls |  |

Prepared by:								Verified by:

____________________					    _____________________

Assigned Utility							      Unit